RAAJDHANI ENGINEERING COLLEGE, BHUBANESWAR

DEPARTMENT OF MECHANICAL ENGINEERING

LESSON PLAN

| Discipline : Mechanical | Semester: 6th | Name of the Teaching Faculty: Dr.A.K.Rath |
| --- | --- | --- |
| Subject: Power Station Engineering | No. Of Days/Week Class Allotted |  |
| Week | Class Day | Theory/Practical Topics |
| 1st | 1st | Different sources of energy. Introduction to Power Plants. Classification of power plants. |
|  | 2nd | Concept of Central and Captive power station. Importance of electrical power in day today life. |
|  | 3rd | Various methods of electrical power generation |
|  | 4th | Review class |
| 2nd | 1st | Assignment Evaluation & Class Test |
|  | 2nd | Layout of steam power station |
|  | 3rd | Explanations of Carnot vapour power cycle with P-V, T-s diagram and determination of thermal efficiency. |
|  | 4th | Numerical on Carnot vapour power cycle |
| 3rd | 1st | Explanations of Rankine cycle with P-V, T-s and H-s diagram and study of performance of steam power plant |
|  | 2nd | Determination of thermal efficiency, work done, work ratio, and specific steam Consumption for Rankine cycle |
|  | 3rd | Numerical on Rankine cycle |
|  | 4th | Boiler – its function, types and operation |
| 4th | 1st | Boiler mountings – need, types and their fuctions |
|  | 2nd | Boiler Accessories: Operation of Air pre heater, Economiser, super heater, Electrostatic precipitator |
|  | 3rd | Review class |
|  | 4th | Steam prime movers: Advantages & disadvantages of steam turbine, Elements of steam turbine, Classification |
| 5th | 1st | Working of steam turbines. Performance of steam turbine– Explain Thermal efficiency, Stage efficiency and Gross efficiency. |
|  | 2nd | Governing of steam turbine. |
|  | 3rd | Steam condenser: Function of condenser, Classification of condenser. |

|  | 4th | Function of condenser auxiliaries such as hot well, condenser extraction pump, air extraction pump, and circulating pump. |
| --- | --- | --- |
| 6th | 1st | Cooling Tower: Function and types of cooling tower, and spray ponds |
|  | 2nd | Draught systems (Natural draught, Forced draught & balanced draught) with their advantages & disadvantages |
|  | 3rd | Selection of site for thermal power stations. List of thermal power stations in the state with their capacities |
|  | 4th | Review class |
| 7th | 1st | Assignment Evaluation & Class Test |
|  | 2nd | Introduction to Nuclear Power plant. List of nuclear power stations. Classification of nuclear fuels (Fissile & fertile material). |
|  | 3rd | Fusion and Fission reactions. Nuclear energy. |
|  | 4th | Elements of nuclear power plants & Block diagram |
| 8th | 1st | Working of nuclear power plants with block diagram |
|  | 2nd | Working and construction of nuclear reactor |
|  | 3rd | Compare the nuclear and thermal plants. |
|  | 4th | Explain the disposal of nuclear waste. Selection of site for nuclear power stations |
| 9th | 1st | Review class |
|  | 2nd | Assignment Evaluation & Class Test |
|  | 3rd | Introduction to diesel electric power stations. Advantages and disadvantages of diesel electric power stations. |
|  | 4th | Components of diesel electric power stations. |
| 10th | 1st | Fuel storage and fuel supply system, Fuel injection system |
|  | 2nd | Air supply system, Exhaust system and Starting system |
|  | 3rd | Cooling and lubrication system |
|  | 4th | Governing system. Selection of site for diesel electric power stations |
| 11th | 1st | Performance and thermal efficiency of diesel electric power stations |
|  | 2nd | Review class |
|  | 3rd | Assignment Evaluation & Class Test |
|  | 4th | Introduction to hydroelectric power plant and its advantages and disadvantages. |
| 12th | 1st | General arrangement of storage type hydroelectric project and its operation. |
|  | 2nd | Selection of site of hydel power plant |
|  | 3rd | List of hydro power stations with their capacities and number of units in the state |

|  | 4th | Types of hydro-turbines and generator used |
| --- | --- | --- |
| 13th | 1st | Review class |
|  | 2nd | Assignment Evaluation & Class Test |
|  | 3rd | Introduction to gas turbine power station. Merits, demerits and application of gas turbine power plants |
|  | 4th | Fuels for gas turbine. Selection of site for gas turbine stations |
| 14th | 1st | Elements of simple gas turbine power plants |
|  | 2nd | Working of gas turbine power station |
|  | 3rd | Thermodynamic cycle |
|  | 4th | Review class |
| 15th | 1st | Assignment Evaluation & Class Test |
|  | 2nd | Discussion of previous year Question papers |
|  | 3rd | Discussion of previous year Question papers |
|  | 4th | Discussion of Possible Questions |